## ADOC
Maintenance Work Schedule for the Month of January 18
Cluster No: C1 |  | Camp: Bukit Gombak Camp |  | Unit: HQ ADOC
S/n | Trade | System / Equipment Description | Scope | Frequency | Days of the Month | [30 empty] | Reference2 (e.g. regulatory codes, standards, MR, MIG) | Remarks
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | Building & Civil | Antenna Mast | Maintenance | Quarterly | P U B L I C H O L I D A Y - N E W Y E A R ' S D A Y P U B L I C H O L I D A Y - N E W Y E A R ' S D A Y P U B L I C H O L I D A Y - N E W Y E A R ' S D A Y | NA | NA | NA | NA |  |  | NA | NA | NA | NA | NA |  |  | NA | NA | NA | NA | NA |  |  | NA | NA | NA | NA | NA |  | P U B L I C H O L I D A Y - C H I N E S E N E W Y E A R P U B L I C H O L I D A Y - C H I N E S E N E W Y E A R P U B L I C H O L I D A Y - C H I N E S E N E W Y E A R | NA | NA | NA
|  |  | Inspection | 6-Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | LPS | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
2 |  | Domestic Water Reticulation System | Pumps | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Domestic Water Storage Tank | Monthly | [31 empty] | CN:8011100252,NPQS, Plumbing, Sanitary & Miscellaneous Service-Hot & Cold Water system, PUB Act (water Supply ) Regulation, CP 48:2005 Water Services, MIG (Chapter 15:Potable water supply), WSHA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Domestic Water Supply Network (Water Sampling Test) | Quarterly
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Camp Water Supply Network (Camp Network Flushing) | Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Tank Flushing | Half-Yearly
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Water Tank Inspection | Monthly | bar: Days of the Month 15 to Days of the Month 19
|  |  | Pipe Leak Test | Half-Yearly
3 |  | Fire Hose Reel | Maintenance | Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-M08 ,<Fire protection and Alarm Systems>,CP 29 CODE OF PRACTICE FOR Fire hydrant systems and hose reels, WSHA | bar: Days of the Month 8 to Days of the Month 12
Yearly
|  |  | Testing (Flow Rate) | Yearly
4 |  | Fire Hydrant System | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Testing | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
5 |  | Clearing Septic Tank |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
6 |  | Tree Pruning | Prunning of tree | Yearly | [31 empty] | CN:8011100252,NPQS, General Requirement –PSD Annex A-A5_Appendix B1 & B2, Integrated Building Contractor’s Services, WSHA
7 |  | Tree Inspections (VTA) | Inspection (VTA) | Half-Yearly
8 |  | Horticultural (Landscaping) | Prunning (Tree/Hedges/Shrubs/Groundcovers) | Monthly | bar: Days of the Month 15 to Days of the Month 19
|  |  | Fertilising (Shrubs) | Quarterly
|  |  | Baphia Prunning | Once in 4 months | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
9 |  | Grass-cutting | Grass-cutting | Once in 2 weeks | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Once in 3 weeks | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Monthly | bar: Days of the Month 15 to Days of the Month 19
10 |  | Training Facilities |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
11 |  | Tower Masts & Poles | Maintenance | Quarterly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E06 < Lighting >,SS 263-Code of practice for luminaries, SS531:2006-Code of practice for lightings of workplaces, CP 38:1999-Artificial Lighting in Building, WSHA | bar: Days of the Month 15 to Days of the Month 19
|  |  | Inspection | Half-Yearly
Yearly
|  |  | LPS | Yearly
12 |  | Cleaning Services | Office Cleaning | Alternate Day | [31 empty] | CN:8011100252,NPQS, General Requirement –PSD Annex A-A5_Appendix A, Integrated Building Contractor’s Services, WSHA | bar: Days of the Month 2; Days of the Month 4; Days of the Month 8; Days of the Month 10; Days of the Month 12; Days of the Month 15; Days of the Month 17; Days of the Month 19; Days of the Month 22; Days of the Month 24; Days of the Month 26; Days of the Month 29; Days of the Month 31
|  |  | Carpet Shampoo | Yearly
|  |  | Medical Centre | Daily | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Toilet | Daily | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Common Area | Alternate Day | bar: Days of the Month 2; Days of the Month 4; Days of the Month 8; Days of the Month 10; Days of the Month 12; Days of the Month 15; Days of the Month 17; Days of the Month 19; Days of the Month 22; Days of the Month 24; Days of the Month 26; Days of the Month 29; Days of the Month 31
|  |  | External Area | Alternate Day | bar: Days of the Month 2; Days of the Month 4; Days of the Month 8; Days of the Month 10; Days of the Month 12; Days of the Month 15; Days of the Month 17; Days of the Month 19; Days of the Month 22; Days of the Month 24; Days of the Month 26; Days of the Month 29; Days of the Month 31
|  |  | High Pressure Jet | Yearly
1 |  | High Voltage Power Distribution System | Visual Inspection & cleaning | Quarterly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E01 <HV Substations and LV Switch rooms>, Electricity Ac (C89A), SS538:2008-Code of practice for maintenance of electrical equipment in electrical installation, CP 29:1998 Code of practice for fire hydrant systems and hosereel, WSHA
|  |  | Thermograph scan | Yearly
|  |  | HT Servicing & testing | Once in 2 years
2 | Electrical | Low Voltage Power Distribution System | Visual Inspection & cleaning | Quarterly
|  |  | Thermographic scan for LV switchboard | Yearly
|  |  | LT Servicing & Testing | Once in 2 years
3 |  | Base-Load Generators | Maintenance | Weekly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Testing | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
4 |  | External Lighting (High Bay Light) | Visual Inspection | Quarterly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E06 < Lighting >,SS 263-Code of practice for luminaries, SS531:2006-Code of practice for lightings of workplaces, CP 38:1999-Artificial Lighting in Building, WSHA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | External Lighting (High Mast Light) | Check on Luminiarie ring & Mast structure | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Inspection & certification by PE on structure & Lifting mechanism | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | External Lighting (Street Light) | Visual Inspection | Quarterly
Half-Yearly
5 |  | Fire Alarm | Maintenance & Testing | Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-M08 <Fire protection and Alarm Systems>, Fire Code, CP 10:2005 code of practice for installation & servicing of electrical fire alarm systems,WSHA | bar: Days of the Month 8 to Days of the Month 12
|  |  | Maintenance, Testing & 20% Smoke Detector Test | Yearly
6 |  | IDS System | Maintenance | Half-Yearly | [31 empty] | NPQS,OEM, S344:1989 Code of practice for guide to selection & application of Intruder alarm system, CP 59:1998-Construction installation, operation and maintenance of intruder alarm system, WSHA
7 |  | Siren System |  | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
8 |  | Dehumidifier |  | Bi-Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
9 |  | Standby Generators & Powerhouses | Maintenance | Weekly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E02 < Base Load and Standby Generators >, SS 535:2007-Code of practice installation, operations, maintenanace, performance &construction requirements of main failure standby generating system, CP 5:1998-Code of practice for electrical for Electrical installation Part 7 (Inspection & Testing),WSHA | bar: Days of the Month 2; Days of the Month 9; Days of the Month 16; Days of the Month 23; Days of the Month 30
Monthly | bar: Days of the Month 16
Quarterly
Half-Yearly
Annually
10 |  | Frequency Converters (Rotary Type) | Maintenance | Bi-Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E03 < Frequency Converter >,WSHA
Half-Yearly
|  | Frequency Converters (Static Type) | Maintenance | Bi-Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
11 |  | Generator Diesel Supply System | Inspection | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Visual inspection of micro-biological growth | Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Dosing of biocide & min specification test | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Tank Survey | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Servicing of Pumps | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Internal tank inspection | Once in 3 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Tank cleaning | Once in 5 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
12 |  | Uninterruptible Power Supplies (UPS) | Inspection | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Maintenance | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Maintenance | Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
13 |  | BAS | Maintenance | Bi-Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
14 |  | Building Access Control & Security Systems | Surveillance System Maintenance | Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Access Control Maintenance | Half-Yearly | [31 empty] | NPQS,OEM,WSHA
15 |  | Vehicle Access Control & Security System |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
16 |  | Auto Sliding Door | Maintenance | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
17 |  | Auto Barriers Control | Maintenance | Bi-Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E09 < Road Barrier System >,WSHA
Yearly
18 |  | Lifts | Servicing | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Load Test | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
19 |  | Lightning Protection System & Equipment Earthing | LPS | 11-Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-E07 < Lightning Protection System >,CP 33:1996 Lightning Protection, SS 555:2010-Code of practise for protection against lightning, Joint Logistics Directive 1/02 on inspection of explosive facilities in SAF, JSP 482 (UK MoD Explosive regulation
|  |  | Equipment Earthing | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
20 |  | Electrical Licensing |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
1 | Mechanical | Indoor Range |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
2 |  | Air-con Plants (Chilled Water System) | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | Air-con Plants (Air Cool System) | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | Air-con Plants (Packaged Air-conditioning System) | Maintenance Servicing | Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-M01 < Air-Conditioning & Mechanical Ventilation System>, SS 553: 2009-Code of Practice for Air conditioning Systems, SS 530:2006-Code of Practice for energy efficiency standards for building services & equipment, SS554:2009-Code of practice for indoor air quality for airconditioned building, WSHA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12
Quarterly
Half-Yearly
Yearly
3 |  | Split air-con (For CSR only) | Maintenance Servicing | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12
Yearly
|  | Split air-con | Maintenance Servicing | Quarterly
Yearly
4 |  | Room air-con | Maintenance Servicing | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
5 |  | Body Cooling Unit | Maintenance Servicing | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | PE Certification for air receiver | 2 Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
6 |  | Cold Room |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
7 |  | Pump (Others ) - Sump Pump | Maintenance Servicing | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | Pump (Others ) - Domestic water Reticulation System | Maintenance Servicing | Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-M13,WSHA | bar: Days of the Month 15 to Days of the Month 19
Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly
Yearly
8 |  | Pumps (Fire Protection) | Maintenance Servicing | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
9 |  | Chill water & Condenser water pump systems | Maintenance Servicing | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
10 |  | Pump Systems (Engine Pump) | Maintenance | Weekly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
11 |  | Lifting Appliances | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | PE Inspection & Certification | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Load Test | Once in 4 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
12 |  | Swimming Pool Filtration Plant & Treatment Plant | pH Level Chlorine Reading | Daily | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Water Sampling | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Maintenance | Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
13 |  | Air Compressor (Screw) | Maintenance | Monthly | [31 empty] | CN:8011100252,Maintenance Requirement MR-M05 < Compressed Air Systems>,WSHA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | PE Certification for air receiver | Once in 2 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | Air Compressor (Piston) | Maintenance | Monthly | bar: Days of the Month 8 to Days of the Month 12
Yearly
|  |  | PE Certification for air receiver | Once in 2 years
14 |  | Motorised Roller Shutter |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
15 |  | Automatic Fire Suppression System | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Test | Once in 5 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
16 |  | Sprinkler System | Maintenance Servicing | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
3-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
17 |  | Riser | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
18 |  | Ventilation Fan | Maintenance Servicing | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
19 |  | COLPRO | Maintenance | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Half-Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  |  | Testing | Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
20 |  | Sewerage and Waste Water Pumping System |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
21 |  | Sewerage Treatment Plant |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
22 |  | Sea Water Cooling System |  | NA | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
23 |  | Hydraulic Door Drive System in MWC Type 1 | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Once in 2 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | Hydraulic Door Drive System in MWC Type 2 | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Once in 2 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
|  | Hydraulic Door Drive System in MWC Type 3 | Maintenance | Monthly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Once in 2 years | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
24 |  | Nitrogen Inerisation & Gas Detection System in MWC | Maintenance | Quarterly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Yearly | bar: Days of the Month 2 to Days of the Month 5; Days of the Month 8 to Days of the Month 12; Days of the Month 15 to Days of the Month 19; Days of the Month 22 to Days of the Month 26; Days of the Month 29 to Days of the Month 31
Notes:
1. There shall be no deleting of any line item from this listing. Indicate NA when necessary. IBC/FMA may insert additional items into the above list where applicable.
2. IBC/FMA are to refer to latest relevant statutory legislation, regulatory codes and standards, Authority's specifications, specific requirements in the Contract, etc.
Where there are differing standards, the most stringent requirements shall be adopted.
[7 empty] | IBC | [8 empty] | FMA | [8 empty] | UNIT
[7 empty] | Prepared by: | [8 empty] | Cleared by: | [8 empty] | Received by:
[7 empty] | Signature: ________________________ | [8 empty] | Signature: ________________________ | [8 empty] | Signature: ________________________
[7 empty] | Name: ___________________________ | [8 empty] | Name: ___________________________ | [8 empty] | Name: ___________________________
[7 empty] | Appt: ____________________________ | [8 empty] | Appt: minimally Manager | [8 empty] | Appt: CCO/OC HQ/S4/CMO
[7 empty] | Date: ____________________________ | [8 empty] | Date: ____________________________ | [8 empty] | Date: ____________________________
DECLARATION BY IBC AND FMA
We, the FMA and the IBC, confirm that:
a. All the information contained in this document is true and correct.
b. The proposed preventive maintenance plans are in accordance to requirements and specifications as stipulated in the Contract.
c. The maintenance programme is consistent with the AIMP and will be executed as scheduled. We will coordinate with the Camp/Unit on the schedule,
including any subsequent change(s), and keep DSTA FM informed prior to implementation.
d. This declaration does not prejudice all other obligations under the Period Contract for which the FMA and IBC are engaged.
DECLARATION BY USER
I confirm that:
a. I am authorised by by the Camp / Base / Unit to acknowledge receipt of the document.
b. The month, cluster, camp and unit indicated on the AIMP are correct. All amendments, if any, are initialled with signature.
c. Should the Camp/Base/Unit require any change(s) to the schedule, I am the authorised person to coordinate with FMA and I will keep DSTA FM informed prior to implementation.